## Reference
Which standard should be used for each engineering decision?
ASME codes and standards for pipe and piping
https://niktrd.com/asme-standards
Document | Primary role | Typical project decision | Does not replace
ASME B31.1 | Power piping code | Stress, supports, fabrication, testing and boiler-external-piping boundaries | Material technical product definition
ASME B31.3 | Process piping code | Fluid service, pressure design, fabrication, NDE and leak test | Process datasheet or piping class
ASME B36.10M | Wrought steel pipe dimensions | NPS, OD, Schedule, wall and nominal mass | Grade or allowable pressure
ASME B36.19M | Stainless pipe dimensions | NPS, OD and S-suffix schedules | A312/A358 material specification
ASME B16.5 and ASME B16.47 | Flanges and pressure-temperature ratings | Flange dimensions and class | Whole-system stress analysis
ASME B16.9 and ASME B16.11 | Wrought and forged fittings | Elbow, tee and fitting geometry | Governing construction code
ASME BPVC II / IX | Material data and welding qualification | Allowable stress and WPS/PQR/WPQ | Piping code selection