## Reference
Condenser Tube types
https://niktrd.com/condenser-tube
Type | Feature | Design consideration
Straight tube | Good access for mechanical cleaning | Two tubesheets or an expansion-accommodation feature may be required
U-bend tube | Inherent accommodation of differential thermal expansion | Bend cleaning and individual tube replacement are more difficult
Seamless tube | No longitudinal weld seam | Cost and availability depend on alloy and size
Welded or heavily cold-worked welded | Common and economical for stainless tubing | Weld quality, heat treatment and NDE are critical
Plain tube | Simpler cleaning and inspection | Heat-transfer area is limited to base geometry
Enhanced or finned tube | Greater area or heat-transfer coefficient | Greater fouling sensitivity and specific cleaning requirements