## Reference
Product test versus system test
MANIK TRADING technical reference table
https://niktrd.com/hydrostatic-test
Item | Mill product test | Installed-system test
Boundary | One pipe/tube length | Piping, joints and included equipment
Reference | Product specification | System design/construction code
Objective | Product leakage and conformance | Strength/leak tightness of installed assembly
Pressure | Per product formula/limit | Per code considering components
Substitution | Does not replace system test | Does not replace product MTC